## 1B. Hierarchy Framework Outline
Hierarchy | Service | Service Division | Asset Class | Assets | Sub Assets | Individual Units/Components
Description | The service to the community. | The major systems delivering the service. | An organized group of assets: - Having similar design characteristics - Operating in a similar or interrelated fashion to provide a distinct and critical service function - Often governed by common condition and performance criteria and Asset Levels of Service - Representing a common level of importance and risk to services. - Often having similar life cycles and capital and maintenance life cycle costs | A significant or major entity consisting of an assembly of components or a group of elements or systems that are significant and necessary for service delivery | Primary elements, groups of elements or sub-systems that form a significant or critical function in asset operations. | Discrete units and various parts contributing to the operation of the Sub Assets and Assets
Related Planning Activities/ Outcomes | - Strategic service objectives - Sustainability reviews/studies - Tax and Rate setting - Recommended and approved Community Levels of Service - Corporate Operating and Capital Plans - Corporate Asset Management Plans and Policy - State of Infrastructure Reporting | - Strategic infrastructure planning and State of Infrastructure reporting - Strategic service objectives | - Document Asset Levels of Service governing the assets within the Asset Class - Document asset life cycle strategies and typical life cycle costs - Ability to strategically measure and assess corporate infrastructure requirements and needs - Ability to strategically measure and assess corporate infrastructure risk and organizational portfolio priorities | - Define and measure condition and performance criteria to meet Asset Level of Service objectives - Some additional Asset Levels of Service may be defined - Detailed condition and performance assessments/ evaluations/testing - Detailed life cycle and cost monitoring - Individual risk assessments - Detailed capital project planning and cost estimates - Detailed capital project forecasting - Operations & Maintenance planning | - Detail condition and performance assessments/evaluations/testing - Detailed life cycle and cost monitoring - Possible individual risk assessments - Detailed capital project planning and cost estimates - Detailed capital project forecasting - Major Maintenance project planning - Operations & Maintenance planning - Some additional condition and performance criteria to meet Asset Level of Service objectives may be defined | - Operations and maintenance schedules and routines
Guidance/ Considerations | Does the infrastructure and accountabilities in each hierarchy roll up to the major community services? | Are there multiple major functions and infrastructure groups needed to deliver the community services? | Does the Asset Class: - Provide a distinctly significant service function? - Generally governed by common condition and performance criterial and Asset Levels of Service? - Represent a common level of importance and risk to services? - Able to be addressed under a common risk mitigation strategy? Do the assets in the Asset Class have: - Have similar life cycles and capital and maintenance life cycle costs? | Do the Assets provide a distinct and essential component to the overall service delivery? Can the Assets be managed and measured by the same risk mitigation strategies, Asset Levels of Service targets set for its Asset Class? Does construction, replacement and/or rehabilitation of the Assets constitute a capital project? Does construction, replacement and/or rehabilitation of the Assets require identification as a line item in the capital budget and forecast and asset management plan? | Would loss of the Sub Asset significantly impair or cease the operation of the Asset to provide services? Is the Sub Asset governed by the same Asset of Service targets and condition and performance criteria? Does construction, replacement and/or rehabilitation of the Sub Asset possibly constitute a capital project or major maintenance project? Does construction, replacement and/or rehabilitation of the Sub Asset possibly require identification as a line item in the capital budget and plan and possibly the asset management plan? | Do they tend to be relatively low value maintenance or expense replacement items covered by operations and maintenance budgets rather than capital budgets? Are they numerous and relatively easy to replace? Do they have a very minor or negligible role overall service delivery? Do they tend to be replaced/rehabilitated as part of a Sub Asset or Asset?
STRATEGIC PLANNING
BUDGET & PROJECT PLANNING
SERVICE PARAMETERS
ASSET PARAMETERS
Note on G2: Does not need to be a complete listing

## 2. Example Water Hierarchy
Service | Service Division | Asset Class | Assets | Sub Assets | Individual Units/Components
Water | Distribution | Transmission mains | The entire length of pipe distinguished by source and destination | Pipe segments (node to node/valve to valve) | Valves, chambers etc.
|  | Feedermains | The entire length of pipe distinguished by source and destination or diameter, function, road or easement sections. (Note: Where fully located under roads, should be consistent with Road Assets) | Pipe segments (node to node/valve to valve) (Note: Not required if 'Assets' are already defined node to node/intersection to intersection) | Valves, chambers etc.
|  | Large watermains | The entire length of pipe distinguished by source and destination or diameter, function, road or easement sections. (Note: Where fully located under roads, should be consistent with Road Assets) | Pipe segments (node to node/valve to valve) (Note: Not required if 'Assets' are already defined node to node/intersection to intersection) | Valves, chambers, hydrants, industrial service connections, etc.
|  | Small watermains | The entire length of pipe distinguished by source and destination or diameter, function, road or easement sections. (Note: Where fully located under roads, should be consistent with Road Assets) | Pipe segments (node to node/valve to valve) (Note: Not required if 'Assets' are already defined node to node/intersection to intersection) | Valves, hydrants, service connections etc.
|  | Pumping Stations | High Lift Pumping Station Low Lift Pumping Station Standby Power Generation Surge Protection Power Supply | Pumping systems, standby power generator units, electrical system, transformers, surge control tanks | Valves, pump units/parts, motors, electrical panels, piping, etc.
|  | Elevated Tanks | Elevated Tank Facility | Tank/Vessel, Riser structure, chlorination systems | Valves, piping, electrical & mechanical equipment, etc.
|  | In-ground Reservoirs | Reservoir Facility | Reservoir cells, chlorination systems | Valves, piping, membrane, baffles, chemical tanks, electrical & mechanical equipment, etc.
| Treatment | Intake | Intake Pipe Preliminary Treatment System | Screens, chemical application systems, electrical systems | Valves, piping, pumps, motors, electrical & mechanical equipment, etc.
|  |  | Low Lift Pumping Station | Pumping systems, electrical systems | Valves, piping, pump units/parts, motors, electrical & mechanical equipment etc.
|  | Pre-treatment | Coagulation Systems | Tanks/Cells, mechanical and electrical systems, chemical application systems | Valves, piping, pumps, motors, electrical & mechanical equipment, chemical feed lines etc.
|  |  | Flocculation Systems | Tanks/Cells, mechanical and electrical systems, chemical application systems | Valves, piping, pumps, motors, electrical & mechanical equipment, etc.
|  |  | Sedimentation Systems | Tanks/Cells, mechanical and electrical systems, chemical application systems | Valves, piping, pumps, motors, electrical & mechanical equipment etc.
|  | Filtration | Filtration Systems | Tanks, Membrane Filter units mechanical and electrical systems, chemical application systems | Pipes, valves, motors, media, membrane cartridges etc.
|  | Disinfection | Disinfection Systems | Ozone generators, evaporators, liquid oxygen tanks, Chlorination/UV Disinfection Units, mechanical and electrical systems | Pumps, Chemical Storage Tanks, Chemical Feed Lines, transformer, electrical panels, etc.
|  | Treated Water Storage | Reservoir Facility | Reservoir cells | Baffles, Ladders, Membrane, etc.
|  | High Lift Pumping | High Lift Pumping Station Surge Protection | Discrete pump assemblies Surge Protection Tanks | Valves, pumps, motors, electrical panels, piping, etc.
|  | Plant Wide Process Support Systems | Standby Generation Electrical Power Supply | Standby power generator units, electrical system, transformers, mechanical and electrical systems HVAC System | Mechanical & electrical components and equipment
| Groundwater Treatment | Wells | Well Facility Standby Power Generation Power Supply System | Well Pumping Systems Standby power generator units, electrical system, transformers, mechanical and electrical systems | Valves, piping, pumps, motors, electrical & mechanical equipment
Note: | The hierarchy should be adapted to the municipality's asset management planning and reporting needs.
Note on F1: Does not need to be a complete listing
Note on E2: Could just be node to node asset ID numbers.

## 3. Example Wastewater Hierarchy
Service | Service Division | Asset Class | Assets | Sub Assets | Individual Units/Components
Wastewater | Collection | Trunk Sewers | The entire length of pipe distinguished by diameter, function, road or easement sections. (Note: Where fully located under roads, should be consistent with Road Assets) | Pipe segments (manhole to manhole) (Note: Not required if 'Assets' are already defined as manhole to manhole segments) | Manholes, chambers, connections
|  | Collection Sewers | The entire length of pipe distinguished by diameter, function, road or easement sections. (Note: Where fully located under roads, should be consistent with Road Assets) | Pipe segments (manhole to manhole) (Note: Not required if 'Assets' are already defined as manhole to manhole segments) | Manholes, service connections etc.
|  | Forcemains | The entire length of pipe distinguished by diameter, function, road or easement sections. (Note: Where fully located under roads, should be consistent with Road Assets) | Pipe segments (manhole to manhole) (Note: Not required if 'Assets' are already defined as manhole to manhole segments) | Valves, manholes
|  | Pumping Stations | Pumping Station Facility Standby Power Generation Power Supply | Pumping systems, dry well/wet well, standby power generator units, electrical system, transformers, | valves, piping, pumps, motors, impellers electrical & mechanical equipment
| Treatment | Preliminary Treatment or Headworks | Course Screening and Grit Removal System | Bar Screen Units, Mechanical Screen Units, Grit/Vortex Chamber, Overflow Chamber | valves, piping, motors, electrical & mechanical equipment
|  | Settling | Primary Settling | Tanks, skimmer/scraper/bridge assembly/system, feed well/energy dissipation system/assembly, etc. | valves, piping, weirs, pumps, motors, electrical & mechanical equipment
|  |  | Secondary Settling | Tanks, skimmer/scraper/bridge assembly/system, feed well/energy dissipation system/assembly, etc. | valves, piping, weirs, pumps, motors, electrical & mechanical equipment
|  | Aeration | Aeration Systems | Aerator units, mechanical and electrical systems | valves, piping, pumps, motors, electrical & mechanical equipment
|  | Disinfection | Disinfection Systems | Chemical/UV Disinfection Units, mechanical and electrical systems | valves, piping, weirs, pumps, motors, electrical & mechanical equipment
|  | Biosolids Processing | Thickening Systems Digester Systems | Centrifuge Units, Dryer Belt Units, Sludge Tanks, Digester Units, electrical systems | valves, piping, pumps, motors, electrical & mechanical equipment
|  | Biosolids Disposal | Biosolids Disposal Systems | Incinerators, hot air blowers, heat exchangers, collection silos/stations, electrical systems | valves, piping, pumps, motors, electrical & mechanical equipment
|  | Effluent Discharge | Outlet System | Outlet Pipe | Screen
Note: | The hierarchy should be adapted to the municipality's asset management planning and reporting needs.
Note on F1: Does not need to be a complete listing

## 4. Example Roads Hierarchy
Service | Service Division | Asset Class | Assets | Sub Assets | Individual Units/Components
Roads | Paved Roads | High Class Bituminous HCB 1 or HCB 2 Urban Arterial/Collector/Local Road Class # # of Lanes | The entire length of road or road section distinguished by the same pavement type, cross-section environment, number of through lanes and road class designation (Note: Should be further divided for extremely long road lengths) | Road Section (Name & # Lanes) - Intersection to intersection (or pavement change) (Note: Not required for short or single road lengths) | Signs, markers, street furniture, curbs, crash attenuation devices, paint etc.
|  | High Class Bituminous HCB 1 or HCB 2 Rural Arterial/Collector/Local Road Class # # of Lanes | The entire length of road or road section distinguished by the same pavement type, cross-section environment, number of through lanes and road class designation (Note: Should be further divided for extremely long road lengths) | Asset Road Section - Intersection to Intersection (or up to pavement change) (Note: Not required for short or single road lengths) | Cross culverts, signs, markers, crash attenuation devices, paint etc.
|  | High Class Bituminous HCB 1 or HCB 2 Semi-Urban Arterial/Collector/Local or Road Class # # of Lanes | The entire length of road or road section distinguished by the same pavement type, cross-section environment, number of through lanes and road class designation (Note: Should be further divided for extremely long road lengths) | Asset Road Section - Intersection to Intersection (or up to pavement change) (Note: Not required for short or single road lengths) | Signs, markers, street furniture, curbs, crash attenuation devices, paint etc.
|  | Low Class Bituminous LCB 1 or LCB 2 Urban Collector/Local Road Class # # of Lanes | The entire length of road or road section distinguished by the same pavement type, cross-section environment, number of through lanes and road class designation (Note: Should be further divided for extremely long road lengths) | Asset Road Section - Intersection to Intersection (or up to pavement change) (Note: Not required for short or single road lengths) | Cross culverts, signs, markers, curbs, crash attenuation devices, paint, etc.
|  | Low Class Bituminous LCB 1 or LCB 2 Rural Collector/Local Road Class # # of Lanes | The entire length of road or road section distinguished by the same pavement type, cross-section environment, number of through lanes and road class designation (Note: Should be further divided for extremely long road lengths) | Asset Road Section - Intersection to Intersection (or up to pavement change) (Note: Not required for short or single road lengths) | Cross culverts, signs, markers, crash attenuation devices, paint etc.
| Unpaved Roads | Gravel Roads # Lanes | The entire length of road or road section distinguished by the same pavement type, cross-section environment, number of through lanes and road class designation (Note: Should be further divided for extremely long road lengths) | Asset Road Section - Intersection to Intersection (or up to pavement change) (Note: Not required for short or single road lengths) | Cross culverts, crash attenuation devices, signs etc.
| Intersections | Signalized Intersections Urban/Semi-Urban | Intersection | Turn lanes, Signal systems | Islands, curbs, signal heads, poles, controllers, signs, conduit, cables, culverts, crash attenuation devices, shoulders, etc.
|  | Signalized Intersections Rural | Intersection | Turn lanes, Signal systems | Turn lanes, beacons signs, culverts, shoulders,, etc.
|  | Signalized Intersections Urban/Semi Urban | Intersection | Turn lanes, Signal systems | Turn lanes, beacons signs, culverts, shoulders, curbs, etc.
|  | Unsignalized Intersections Rural | Intersection | Turn Lanes | Turn lanes, beacons signs, culverts, shoulders,, etc.
| Bridges and Culverts | Bridges | Bridge Structure | Approaches, barriers, decks, beams, abutments | Wearing surface, approach slabs, railing systems, deck top, wingwalls, soffit, ballast walls, bearing walls, abutment walls, posts, erosion protection, guardrails, signs, crash attenuation,etc.
|  | Major Culverts (>3.0m) | Culvert Structure | Approaches, Barrel, inlet/outlet | Wearing surface, railing systems, erosion protection, guardrails, signs, crash attenuation etc.
| Storm Water Management | Swales, Ditches | Entire road or ditch length (Note: Should be consistent with Road Assets) | Road section lengths - Intersection to intersection | ditch inlets, erosion control
|  | Minor Sewers | The entire length of pipe distinguished by diameter, function, road or easement sections. (Note: Where fully located under roads, should be consistent with Road Assets) | Pipe segments (manhole to manhole) (Note: Not required if 'Assets' are already defined as manhole to manhole segments) | Catch basins, manholes, ditch inlets etc.
|  | Major Sewers | The entire length of pipe distinguished by diameter, function, road or easement sections. (Note: Where fully located under roads, should be consistent with Road Assets) | Pipe segments (manhole to manhole) (Note: Not required if 'Assets' are already defined as manhole to manhole segments) | Catch basins, manholes, ditch inlets etc.
|  | Storm Water Retention | Dry or Wet Pond Facility | Inlet/Outlet Structures (if substantial) | Inlet/Outlet Structures
|  | Minor Culverts (<3.0 m) | Culvert Structure |  | Erosion protection, safety barriers, signs, etc.
| Major Roadside Assets | Street Lights | Entire road length or to where streetlighting ends | Road Section - Intersection to Intersection | Poles, cabling
|  | Retaining walls | Entire wall unit | Wall Sections (if necessary/practical) - node to node | safety barriers, erosion control, crash attenuation devices
|  | Sidewalks/Multi-Use Trails | Entire road length or to where sidewalk/multi-use trail ends | Road section lengths - Intersection to intersection
Note: | The hierarchy should be adapted to the municipality's asset management planning and reporting needs.
Note on F1: Does not need to be a complete listing

## 5. Example Fleet Hierarchy
Service | Service Division | Asset Class | Assets | Sub Assets | Individual Units/Components
|  | Specialty Vehicles | Loaders |  | Vehicle parts
Backhoes
Graders
|  | Vehicles | Light Duty Pick ups
Heavy Duty Pick up
Passenger Vehicles
Tandem Dump Trucks
Note: | The hierarchy should be adapted to the municipality's asset management planning and reporting needs.
Note on F1: Does not need to be a complete listing

## 6. Example Building Hierarchy
Service | Service Division | Asset Class | Assets | Sub Assets1
|  |  |  | Interior & Exterior Space Uses2 (To meet service requirements) | Uniformat II Hierarchy3 (Partial Listing)
[5 empty] | Level 1 Major Group Elements | Level 2 Group Elements | Level 3 Individual Elements
Public Service | Sub Service | Examples (may be multiple or individual facilities): | Facility Name | Interior Use Examples: | A. Substructure | A10 Foundations | A mix of Individual Units and Components. See full Uniformat II Hierarchy for additional information
|  | Community Centres |  | Staff Meeting Rooms |  | A20 Basement Construction
|  | Recreation Centres |  | Washrooms | B. Shell | B10 Superstructure
|  | Administration Offices |  | Garages |  | B20 Exterior Closure
|  | Libraries |  | Kitchens |  | B30 Roofing
|  | Fire Halls |  | Offices | C. Interiors | C10 Interior Construction
|  | Operations Yards |  | Showers/Changerooms |  | C20 Staircases
|  | Long Term Care Centres |  | Community/Public Meeting Rooms |  | C30 Interior Finishes
|  | Museums |  | Storage Rooms | D. Services | D10 Conveying Systems
|  | Cultural Centres/Facilities |  | Library Areas |  | D20 Plumbing
|  | Tourism Information Centres |  | Rink Areas |  | D30 HVAC
|  | Storage Facilities |  | Pools |  | D40 Fire Protection
|  | Maintenance Facilities |  | Gymnasiums |  | D50 Electrical
|  | Paramedic Stations |  | Fitness Facilities | E. Equipment & Furnishings | E10 Equipment
|  | Garages |  | Common Areas |  | E20 Furnishings
|  | Storage Facilities |  | Information Areas | F. Special Construction & Demolition | F10 Special Construction
|  | Treatment Plants |  | Confectionary Areas |  | F20 Selective Building Demolition
|  | Pumping Stations |  | Control Rooms | G. Building Sitework | G10 Site Preparation
|  | Well Pumphouses |  | Electrical Rooms |  | G20 Site Improvements
|  | Light Industrial Facilities |  | Treatment Process Areas |  | G30 Site Civil/Mechanical Utilities
|  | Medium Industrial Facilities |  | Maintenance Rooms/Areas |  | G40 Site Electrical Utilities
|  | Heavy Industrial Facilities |  | Elevators |  | G50 Other Site Construction
Living Spaces
|  | High Density Housing |  | Exterior Use Examples:
|  | Medium Density Housing |  | Parking Areas
|  | Low Density Housing |  | Driveways/Parking Access
|  | Agricultural Facilities |  | Pedestrian Use Surfaces
|  | Other |  | Common Spaces/Open Grounds
Pools
Wading Pools
Splash Pads
Playgrounds
Notes: 1. | The assets on the Uniformat II hierarchy should be referenced to the various associated Interior Use Spaces.
2. | Interior Use Spaces are defined, evaluated and planned by the accountable Program/Service provider to meet service requirements using applicable Performance Evaluation Criteria (see Levels of Service Package).
3. | Assets defined by the Uniformat II Standard are evaluated and planned according to information provided by Building Condition Assessments (BCAs).

## 7. Uniformat II Hierarchy
Uniformat II
Level 1 Major Group Elements | Level 2 Group Elements | Level 3 Individual Elements
A. SUBSTRUCTURE | A10 Foundations | A1010 Standard Foundations
A1020 Special Foundations
A1030 Slab on Grade
| A20 Basement Construction | B2010 Basement Excavation
B2020 Basement Walls
B. SHELL | B10 Superstructure | B1010 Floor Constructions
B1020 Roof Construction
| B20 Exterior Closure | B2010 Exterior Walls
B2020 Exterior Windows
B2030 Exterior Doors
| B30 Roofing | B3010 Roof Covering
B3020 Roof Openings
C. INTERIORS | C10 Interior Construction | C1010 Partitions
C1020 Interior Doors
C1030 Specialities
| C20 Staircases | C2010 Stair Construction
C2020 Stair Finishes
| C30 Interior Finishes | C3010 Wall Finishes
C3020 Floor Finishes
C3030 Ceiling Finishes
D. SERVICES | D10 Conveying Systems | D1010 Elevators
D1020 Escalators & Moving Walks
D1030 Material Handling Systems
| D20 Plumbing | D2010 Plumbing Fixtures
D2020 Domestic Water Distribution
D2030 Sanitary Waste
D2040 Rain Water Drainage
D2050 Special Plumbing Systems
| D30 HVAC | D3010 Energy Supply
D3020 Heat Generating Systems
D3030 Cooling Generating Systems
D3040 Distribution Systems
D3050 Terminal & Package Units
D3060 Controls & Instrumentation
D3070 Special HVAC Systems & Equipment
D3080 Systems Testing & Balancing
| D40 Fire Protection | D4010 Fire Protection & Sprinkler Systems
D4020 Stand-Pipe & Hose Systems
D4030 Fire Protection Specialities
D4040 Special Electrical Systems
| D50 Electrical | D5010 Electrical Service & Distribution
D5020 Lighting & Branch Wiring
D5030 Communication & Security Systems
D5040 Special Electrical Systems
D5090 Other Electrical Systems
E. EQUIPMENT & FURNISHINGS | E10 Equipment | E1010 Commercial Equipment
E1020 Institutional Equipment
E1030 Vehicular Equipment
E1040 Other Equipment
| E20 Furnishings | E2010 Fixed Furnishings
E2020 Movable Furnishings
F. SPECIAL CONSTRUCTION & DEMOLITION | F10 Special Construction | F1010 Special Structures
F1020 Integrated Constructions
F1030 Special Construction Systems
F1040 Special Facilities
F1050 Special Controls & Instrumentation
| F20 Selective Building Demolition | F2010 Building Elements Demolition
F2020 Hazardous Components Abatement
G. BUILDING SITEWORK | G10 Site Preparation | G1010 Site Clearing
G1020 Site Demolition & Relocations
G1030 Site Earthwork
G1040 Hazardous Waste Remediation
| G20 Site Improvements | G2010 Roadways
G2020 Parking Lots
G2030 Pedestrian Paving
G2040 Site Development
G2050 Landscaping
| G30 Site Civil/Mechanical Utilities | G3010 Water Supply & Distribution Systems
G3020 Sanitary Sewer Systems
G3030 Storm Sewer Systems
G3040 Heating Distribution
G3050 Cooling Distribution
G3060 Fuel Distribution
G3070 Other Civil/Mechanical Activities
| G40 Site Electrical Utilities | G4010 Electrical Distribution
G4020 Site Lighting
G4030 Site Communications & Security
G4040 Other Site Electrical Utilities
| G50 Other Site Construction | G5010 Service Tunnels
G5020 Other Site Systems & Equipment

## 8. Asset Hierarchy Template
Service | Service Division | Asset Class | Assets | Sub Assets | Individual Units/ Components
Note on F1: Does not need to be a complete listing

## 9. Asset Data & Info Framework
Asset Data and Information Framework
Data Type | Attribute Data | Description | Purpose | Typical Sources1 | Frequency & Triggers for Updates2 | Archiving & Deletion Protocols3 | Accountable4 | Data Status5
Technical | Asset Design & As-built Characteristics | A description of the key physical characteristics and/or design parameters of the asset at the time it was constructed including size, diameter, length, width, output, capacity, performance, material, manufacturer etc. | A means to readily understand original asset design parameters in order to assess current asset status and changes over time, including rate/amount of deterioration, capacity utilization and to estimate remaining service life and future replacement costs. | Project design documents, project planning information, as-built records or Capital Project Management Information System | As required, according to changes in the asset portfolio. | See notes. | See notes. | See notes.
| In Service Date/ Asset Age | The date or time from which the asset went into service, whether created as a new asset, replacing an existing asset or the refurbishment of an existing asset. | To provide a point of reference to when the lifecycle began, to estimate remaining useful service life, future investment requirements and to provide data for developing life cycle estimates and strategies | Capital Project Management Information System, as-built records, project close out records, Computer Maintenance Management System (CMMS) | As required, according to changes in the asset portfolio. | See notes. | See notes. | See notes.
| Estimated Total Useful Service Life | An estimate of the total timespan that the asset will meet minimum service requirements and ALOS targets according to its typical life span and life cycle strategy assuming standard operating and maintenance practices. | To estimate the total length of time an asset will meet the minimum requirements to provide services. To forecast and plan for future asset investment requirements (e.g. operations and maintenance activities, refurbishments and replacements). | Available documented life cycle strategies, Industry norms, manufactures' estimates, benchmarking studies with other municipalities, internal records on asset replacement/rehabilitation history/frequency, estimates/information from neighbouring municipalities, Engineering, planning & operating staff information/input, consultants, value engineering studies, condition assessment & inspection information, materials suppliers, warranty information, Industry publications (e.g. RS Means), Academia | As required, according to updates on life cycle information, , new technology, changes to assets/asset materials, etc.. | See notes. | See notes. | See notes.
| Remaining Useful Service Life (RUSL) | An estimate of the remaining timespan that the asset will meet minimum service requirements and ALOS targets assuming standard operating and maintenance practices. | To forecast and plan for future asset investment requirements (e.g. operations and maintenance activities, refurbishments and replacements). | Condition assessment and inspection information, maintenance/refurbishment/ replacement history, customer complaint history, CMMS/work order records, typical life spans and available life cycle strategies | Updated with updates to condition assessments, inspections maintenance/ refurbishment/ replacement history, customer complaint history, life span/ life cycle strategy information | See notes. | See notes. | See notes.
| Maintenance/ Refurbishment History | The history of asset refurbishments and maintenance activities | To estimate the current state of the asset and forecast the next viable treatment and investment for the asset according to the typical life cycle strategy. | CMMS/work order records, Capital Project Management Information System, as-built records. | Updated as work orders and maintenance and refurbishment projects are carried out. | See notes. | See notes. | See notes.
| Operations and Maintenance Schedule | Forecasting of normal asset operation, maintenance and inspection activities. | To demonstrate and undertake proactive operations and maintenance activities to: - optimize asset life and use - ensure data collection procedures to inform on the assets' physical viability to meet design and/or asset level of service requirements - tabulate/assess total asset life cycle costs and the financial viability of the asset - to determine or optimize lifecycle strategies - to forecast operational investments | CMMS/work order system | As required, according to changing service levels, regulations, lifecycle strategies or manufactures' recommendations. | See notes. | See notes. | See notes.
| Date of Last Inspection/ Condition Assessment | The last date the asset was physically inspected | To understand the currency of the asset conditions and data. | CMMS or other available inspection records | As required, according to updates to inspections/assessments history or regulations. | See notes. | See notes. | See notes.
| Date of Next Inspection/ Condition Assessment | The anticipated date for the next physical inspection. | To understand when the asset will be next updated and to ensure there is a regular inspection program. | CMMS or other available inspection records | As required, according to updates to inspections/assessments history or regulations. | See notes. | See notes. | See notes.
| Condition Asset Levels of Service Measures6 | The specific types of approved measures used to assess the physical state of the assets to meet community service needs. | Required to measure the ability of the assets' physical state to provide desired community services. Also serves as an input to the risk assessment of the asset. | Measures based on typical industry condition assessment measures , regulations, asset age, customer complaints, maintenance hours, failure incidents history (e.g. number of watermain breaks), hours of use/run times/down times, appearance, general 5 point rating scale per 'Managers' Rating Guide' | As required or annually, according to changes in regulations, Council directions, customer services, organizational risk tolerances | See notes. | See notes. | See notes.
| Performance Asset Levels of Service Measures6 | The specific types of approved measures used to assess the assets' functionality (fit-for-purpose) to meet community service needs | Required to measure the assets' functional ability to provide desired community services. Also serves as an input to the risk assessment of the asset. | Measures based on typical industry performance measures, regulations, asset age, energy use, output, capacity utilization, pressures, volumes, appearance, general 5 point rating scale per 'Managers' Rating Guide' | As required or annually, according to changes in regulations, Council directions, customer services, organizational risk tolerances | See notes. | See notes. | See notes.
| Condition Asset Levels of Service Targets6 | The Asset Levels of Service targets for the assets by Asset Class | To document the current condition Asset Levels of Service targets for asset investment planning, risk assessments and state of infrastructure reporting. | Asset Management Strategy, Asset Register, Council Resolution | As required according to changing conditions in asset conditions, Council directions, financial capacity, customer service requirements, regulatory requirements, emerging threats and changes to organizational risk tolerances | See notes. | See notes. | See notes.
| Performance Asset Levels of Service Targets6 | The Asset Levels of Service targets for the assets by asset class | To document the current performance Asset Levels of Service targets for asset investment planning, risk assessments and state of infrastructure reporting. | Asset Management Strategy, Asset Register, Council Resolution | As required according to changing conditions in asset conditions, Council directions, financial capacity, customer service requirements, regulatory requirements, emerging threats and changes to organizational risk tolerances | See notes. | See notes. | See notes.
| Current Condition Asset Levels of Service | The current condition measurement that rates the assets' existing physical state to meet community service needs. | To assess the state of the assets and to evaluate possible asset risks to community services. | Asset Register, GIS, CMMS | Annually for state of infrastructure reporting, capital planning and regular risk assessments. | See notes. | See notes. | See notes.
| Current Performance Asset Levels of Service | The current performance measurement that rates the assets' existing functional state (fit-for-purpose) to meet community service needs. | To assess the state of the assets and to evaluate possible asset risks to community services. | Asset Register, GIS, CMMS | Annually for state of infrastructure reporting, capital planning and regular risk assessments. | See notes. | See notes. | See notes.
| Data Requirements and Criteria to Measure Asset Condition7 | The data, information and critria required to measure asset condition. | To document the data collection needs required to measure the state of the assets in relationship to the condition Asset Levels of Service targets. | The Asset Management Strategy and the municipality's data management plan to collect/maintain the necessary data and information to support the Asset Level of Service measures. Specific locations/sources for the data include the CMMS, condition assessment and visual inspection information, asset age, pipe break history, customer complaint history, maintenance history | As required, according to changes in Asset Levels of Service and/or data and information sources and data management plans. | See notes. | See notes. | See notes.
| Data Requirements and Criteria to measure Asset Performance7 | The data, information and criteria required to measure asset performance. | To document the data collection needs required to measure the state of asset functionality (fit-for-purpose) in relationship to the performance Asset Levels of Service targets. | The Asset Management Strategy and the municipality's data management plan to collect/maintain the necessary data and information to support the Asset Levels of Service measures. Specific locations/sources for the data include the CMMS, SCADA, water, wastewater and stormwater hydraulic models, flow and pressure monitoring, pump tests, water leakage studies, energy consumption data, traffic volume and load data, customer complaint history, sewer overflow history, current and proposed regulations, water quality data, engineering studies, etc. | As required, according to changes in Asset Levels of Service and/or data and information sources and data management plans. | See notes. | See notes. | See notes.
| Criticality and/or Risk Rating | The level of asset risk or asset criticality to service delivery | To highlight the assets that may require higher Asset Levels of Service requirements to mitigate risk and/or additional/more frequent inspections or maintenance routines. | Organizational asset risk assessments, Asset Management Strategy, Asset Register | Updated according to regular annual risk assessments. | See notes. | See notes. | See notes.
Financial | Construction Unit Costs | Typical material, labour and construction costs per unit or unit length | To document, monitor and adjust base construction costs as an input to the asset replacement values and investment forecasting. To create repeatable project budget estimates for different project scopes and sizes. | Capital Project Management Information System, final payment certificates, quantities from completed construction projects. | Annually or as required according to changes in material and labour costs. | See notes. | See notes. | See notes.
| Design, Engineering, Contingency & other Overhead Costs and Allowances | The typical allowances for overhead costs related to pre design, detailed design, engineering, special studies, consultant fees, contract administration, miscellaneous fees, contingencies, taxes etc. | To document, monitor and adjust the construction overhead allowances as an input to the asset replacement values and investment forecasting. To create repeatable project estimates for different project scopes and sizes. Can be expressed as typical percentages extra and above the construction unit costs. | Capital Project Management Information System, final payment certificates from completed consulting assignments, internal staff costs from the municipality's internal financial system. | Annually or as required, according to changing practices, costs, and wages | See notes. | See notes. | See notes.
| Total Asset Replacement & Refurbishment Costs | The construction, design and overhead costs to replace, refurbish each of the assets in the portfolio based on typical unit costs and allowances. | To determine the full value of the municipality's portfolio for financial investment planning and state of infrastructure reporting | Typical construction unit costs, design and overhead costs as determined above. | As required, according to changing construction and overhead costs and wages. | See notes. | See notes. | See notes.
| Annual Maintenance Costs | Annual costs for typical maintenance activities (per unit or unit length) during the assets' normal life cycle for optimal asset utilization. | To use as an input to total asset life cycle costs and asset investment forecasting. Can be an input to assessing the ongoing financial viability of the asset and cost benefit analyses. | CMMS work order system, municipality's internal financial system. | Annually according to changing practices, material costs, wages | See notes. | See notes. | See notes.
| Annual Operating Costs | Annual costs for typical operations activities (per unit or unit length) during the assets' normal life cycle for optimal asset utilization. | To use as an input to total asset life cycle costs and asset investment forecasting. Can be an input to assessing the ongoing financial viability of the asset and cost benefit analyses. | CMMS work order system, municipality's internal financial system. | Annually according to changing practices, costs, wages | See notes. | See notes. | See notes.
| Notes: 1. | Typical Sources: Possible data storage locations and retrieval options: a) Data and information may be entered and stored directly in the Asset Register b) Sourced from other data bases or applications and stored in the Asset Register c) Sourced through links to other applications via the Asset Register or by direct external links using the Asset Class ID number and/or Asset ID number as appropriate
| 2. | Frequency & Triggers for Updates: Determined by the municipality's data management requirements
| 3. | Archiving & Deletion Protocols: Specify triggers for archiving and deletion of data and any approval requirements.
| 4. | Accountable: The "owners" for managing the asset data.
| 5. | Status: Comments to provide additional information on the status of the data.
| 6. | To be determined where required by a separate Asset Level of Service exercise.
| 7. | See Asset Levels of Service (ALOS) Catalogues for additional information.

## 10Example Framework Application
Data Type | Attribute Data | Water Example | Road Example
Technical | Asset Design and as-built Characteristics | 2000 metres of 600mm dia concrete pipe | 4000 metres, 4 lane urban road cross section, 150mm depth HCB surface
| In Service Date/ Asset Age | 1983 | 2000
| Estimated Total Useful Service Life | 80 years | 20 years
| Estimated Remaining Useful Service Life | 44 years | 1 year
| Maintenance/Refurbishment History Summary | Repaired 1 break in 2017 | Restored utility crossings in 2010, Crack Sealing in 2006, 2011, 2016
| Operations and Maintenance Schedule | Valve chambers inspected annually Valves inspected and tested annually Leak detection testing every 5 years | Crack sealing every 5 years Annual pavement sweeping
| Date of Last Inspection/Condition Assessment | Valves and Chambers - July 2020 Leak detection testing - August 2018 | Pavement Condition Assessment - June 2017
| Date of Next Inspection/Condition Assessment | Valves and Chambers - July 2021 Leak detection testing - August 2023 | Pavement Condition Assessment - June 2022
| Condition ALOS Measures | General 5 Point Scale (Very Good to Very Poor) | Pavement Condition Index (PCI)
| Performance ALOS Measures | Provide sufficient flow and pressure Provide minimum average day demands during feedermain failure | N/A
| Condition ALOS Targets | Good (= Maximum 2 Breaks) | N/A
| Performance ALOS Targets | Good | PCI = 70 (Good)
| Current Condition ALOS | Good (1 Break) | PCI =60 (Fair)
| Current Performance ALOS | Good (Meets all Performance requirements) | N/A
| Data Requirements and Criteria to Measure Asset Condition | - Break history - Electromagnetic condition assessments (future) | Pavement Condition Index (PCI)
| Data Requirements and Criteria to Measure Asset Performance | - Measured flow and pressure data - Network water model output data | N/A
| Criticality and/or Risk Rating | Criticality: High | Criticality: Medium
Financial | Construction Unit Costs | $1,500/m | $700,000/km (Full depth pavement replacement)
| Design, Engineering, Contingency & other Overhead Costs and Allowances | 30% | 25%
| Total Replacement Costs | $3,900,000 | 3500000
| Annual Maintenance Costs | $200/km | $1000/km
| Annual Operating Costs | $100/km | $3000/km

## 11. Data & Info Gap Analysis
Data Type | Attribute Data | Asset Category NAME |  |  | Asset Category NAME |  |  | Asset Category NAME
|  | Yes | Source1 | Accountable2 | Yes | Source1 | Accountable2 | Yes | Source1 | Accountable2
Hierarchy | Service Name & ID Convention
Service Division Name & ID Convention
Asset Class Name & ID Convention
Asset Name, Location & ID Convention
Sub Asset Name, Location & ID Convention
Individual Unit/Component Names & ID Convention
Technical | Asset Design & as-built Characteristics
In Service Date/Asset Age
Estimated Total Useful Service Life
Estimated Remaining Useful Service Life
Maintenance/Refurbishment History
Operations and Maintenance Schedule
Date of Last Inspection/Condition Assessment
Date of Next Inspection/Condition Assessment
Condition ALOS Measures3
Performance ALOS Measures3
Condition ALOS Targets3
Performance ALOS Targets3
Current Condition ALOS
Current Performance ALOS
Data Requirements and Criteria to Measure Asset Condition4
Data Requirements and Criteria to Measure Asset Performance4
Asset Criticality/Risk Rating
Financial | Construction Unit Costs
Design, Engineering, Contingency & other Overhead Costs and Allowances
Total Replacement Costs
Annual Maintenance Costs
Annual Operating Costs
Notes: 1. | Source: Application, system or database where data is currently available or will be available in the future. |  |  |  | Legend
2. | Accountable: The "owner" of the asset data. |  |  |  |  | Milestone #2 Objectives
3. | To be determined where required by a separate Asset Level of Service exercise. |  |  |  |  | Milestone #3 Objectives
4. | See Asset Levels of Service (ALOS) Catalogues for additional information. |  |  |  |  | Milestone #4 Objectives
Milestone #5 Objectives

## 12. Water Info Catalogue
ALOS Category | Asset Levels of Service Inputs | Data & Attributes to Support ALOS Inputs1 | Affected Asset Types
Condition | Maximum number of breaks per km of watermain over a given timeframe (e.g. life time, past year, past 5 years etc.) and by asset class | ALOS ratings and targets for various break numbers/ranges by asset class2 Pipe break history Pipe material (an input to estimated remaining lifespan) Asset class definitions | Transmission mains Feedermains Local Distribution mains
| Maximum hours of unplanned service interruptions by watermain asset class | ALOS ratings and targets for maximum unplanned service interruptions by asset class Service interruption and/or pipe break history Typical repair/down times per incident Pipe material (an input to estimated remaining lifespan) Asset class definitions | Transmission mains Feedermains Local Distribution mains
| Maximum number of pipe defects per km or per pipe of concrete pressure pipe watermain by asset class | ALOS ratings and targets for maximum defects/defect types by asset class Internal electromagnetic pipe inspection data Measurement criteria for defects/defect types Asset class definitions | Large diameter concrete and steel pipe (Transmission mains and Feedermains)
| Maximum pipe age for watermains by material type and asset class | ALOS ratings and targets for maximum pipe age by material type and asset class Installation dates Estimated lifespan Pipe material Asset class definitions | Transmission mains Feedermains Local Distribution mains
| Minimum condition rating for equipment by asset type or asset class | ALOS condition rating system and targets for minimum condition ratings A standardized condition system Condition assessment data Asset categorization or asset class definitions | Major mechanical and electrical equipment (pumps, motors, electrical panels, generators.)
| Maximum age for equipment by asset type or asset class | ALOS ratings system and targets for maximum equipment age by equipment type/asset class Installation dates by equipment type/asset class Estimated lifespan by equipment type/asset class Asset categorization or asset class | Major mechanical and electrical equipment (pumps, motors, electrical panels, generators, etc.)
| Minimum condition rating for storage assets by asset type or asset class | ALOS ratings system and targets for minimum condition ratings by asset class/asset type A standardized condition ratings system Condition assessment data Asset categorization or asset class definitions | Reservoir cells, elevated storage, treatment tanks, surge protection tanks
| Maximum age for tank/storage assets by asset type or asset class | ALOS ratings system and targets for maximum age by civil asset type/asset class Installation dates by civil asset type/asset class Estimated lifespan by civil asset type/asset class Asset categorization or asset class definitions | Reservoir cells, elevated storage, treatment tanks, surge protection tanks
Performance | Emergency back-up capacity for critical processes/process equipment by asset type or asset class | Descriptions for critical processes/process equipment assets The inventory of critical assets to which the ALOS applies Definitions/design criteria for maximum amount of down time or asset loss Definitions/design criteria for full or partial emergency backup capacity requirements ALOS ratings system and targets Asset categorization or asset class definitions | Major mechanical and electrical equipment (pumps, motors, electrical panels, generators, etc.)
| Maintain minimum pressures and flows during designated demands by asset class | Defined flow and pressure criteria Definitions for required demands/demand conditions under which target pressures and flows are provided (e.g. maximum day, peak hour, other) Hydraulic model outputs Recorded flow data System design information ALOS ratings system and targets Defined asset classes to which the ALOS targets apply | Pumping stations, well water pumping, water storage, pipes
| Provide sufficient treatment capacity to meet CoA requirements and the Clean Water Act | Water quality monitoring data Ministry Certificate of Approval Provincial Regulations | Treatment plants/processes, Well water treatment systems Reservoirs
| Provide minimum system/network/process capacity for continued operations during emergency periods by asset class | ALOS ratings system and targets Defined ALOS targets for the demand conditions under which minimum system capacities are to be provided (e.g. average day, maximum day) for each asset class or critical process Definitions for critical processes and inventory The related critical asset inventory Hydraulic model outputs Recorded flow data System design information Asset class definitions | Transmission mains Feedermains Pumping stations Well water treatment and pumping Treatment plants/processes Reservoirs
Notes: 1. | Standardized measures and ALOS ratings as developed through industry practices or per a predefined general rating convention, e.g.: 1 - Very Good, 2 - Good, 3 - Fair, 4 - Poor, 5 - Very Poor
2. | Example Watermain Condition/ALOS Rating System Using Breaks
|  |  |  | # Breaks | Condition/ALOS Rating
|  |  |  | 0 | Very Good
|  |  |  | 1-2 | Good
|  |  |  | 3-4 | Fair
|  |  |  | 5-6 | Poor
|  |  |  | >6 | Very Poor

## 13. WW & Storm Info Catalogue
ALOS Category | Asset Levels of Service Inputs | Data & Attributes to Support ALOS Inputs1 | Affected Asset Types
Condition | Minimum condition rating for sewer lines by asset class | Standard condition measurements A standard ALOS sewer condition ratings system (e.g. Pipeline Assessment Certification Program (PACP)) ALOS condition targets by Asset Class Condition assessments (e.g. CCTV and/or sonar pipe inspection data) Asset Class definitions | Trunk Sewers Local Collection Sewers Forcemains
| Maximum number of breaks/collapses per km of sewer line over a given timeframe (life time, past year, past 5 years etc.) and by asset class | ALOS measures and targets for maximum breaks/collapses by asset class Pipe break history Pipe material (an input to estimated remaining lifespan) Asset Class definitions | Trunk Sewers Local Collection Sewers Forcemains
| Maximum number of pipe defects per km or per pipe for concrete pressure pipe forcemain | Standard condition measurements A standard ALOS sewer condition ratings system for maximum defects/defect types Internal electromagnetic pipe inspection data Measurement criteria for defects/defect types Asset Class definitions | Large diameter concrete forcemains
| Maximum pipe age for sewer lines by material type and asset class | ALOS ratings and targets for maximum pipe age by material type and asset class Installation dates Estimated lifespan Pipe material Asset Class definitions | Trunk Sewers Local Collection Sewers Forcemains
| Minimum condition rating for equipment by asset type or asset class | ALOS targets for minimum condition ratings A standardized condition ratings system* Condition assessment data Asset categorization or asset class definitions | Major mechanical and electrical equipment (pumps, motors, electrical panels, generators etc.)
| Maximum age for equipment by asset type or asset class | ALOS targets for maximum equipment age by equipment type/asset class Installation dates by equipment type/asset class Estimated lifespan by equipment type/asset class Asset categorization or asset class | Major mechanical and electrical equipment (pumps, motors, electrical panels, generators, etc.)
| Minimum condition rating for wastewater or stormwater retention assets by asset type or asset class | ALOS targets for minimum condition ratings by asset class/asset type A standardized condition ratings system Condition assessment data Asset categorization or asset class definitions | Treatment tanks, lagoons, wet wells, overflow storage, stormwater retention tanks/ponds, dams
| Maximum age for wastewater or stormwater retention assets by asset type or asset class | ALOS ratings by Asset Class ALOS targets for maximum age by civil asset type/asset class Installation dates by civil asset type/asset class Estimated lifespan by civil asset type/asset class Asset categorization or asset class definitions | Treatment tanks, lagoons, wet wells, overflow storage, stormwater retention tanks/ponds, dams
Performance | Emergency back-up capacity for critical processes/process equipment by asset type or asset class | Descriptions for critical processes/process equipment assets The inventory of critical assets to which the ALOS applies Definitions/design criteria for maximum amount of down time or asset loss Definitions/design criteria for full or partial emergency backup capacity requirements Asset categorization or asset class definitions Defined ALOS ratings and targets for the various performance measures | Major mechanical and electrical equipment (pumps, motors, electrical panels, generators, etc.)
| Maximum utilization of pipe capacity | Defined ALOS ratings and targets for pipe capacity utilization by asset class (e.g. as a percentage of full pipe capacity) Definitions for demands/demand conditions under which ALOS targets are set (e.g. average flows , peak flows, and/or storm event return period) Pipe capacities Hydraulic model outputs Recorded flow data System design information Defined asset classes to which the ALOS targets apply | Trunk Sewers Local Collection Sewers
| Maximum height of hydraulic grade line above the crown of sewer or below ground elevation. | Defined ALOS ratings and targets for hydraulic grade line above crown of pipe or below ground elevation by asset class Hydraulic model outputs Pipe inventory Pipe capacities Pipe elevations Ground elevations Defined asset classes to which the ALOS targets apply | Trunk Sewers Local Collection Sewers
| Maximum allowable infiltration rates by area or length of pipe. | Defined ALOS ratings and targets for maximum allowable infiltration rates Standard infiltration measures Flow monitoring data Pipe inventory Catchment area data Hydraulic model outputs/pipe capacities Defined asset classes to which the ALOS targets apply | Trunk Sewers Local Collection Sewers
| Maximum allowable inflow rates by area or length of pipe | Defined ALOS ratings and targets for maximum allowable inflow rates Standard inflow measures Dry and wet weather flow data Rainfall data Pipe inventory Catchment area data Hydraulic model outputs/pipe capacities Defined asset classes to which the ALOS targets apply | Trunk Sewers Local Collection Sewers
| No wastewater overflows to the environment and/or basements. | ALOS targets for maximum storm intensities (if the ALOS will only protect up to a certain storm intensity/duration event) Dry and wet weather flow data Rainfall data Pipe inventory Asset design capacities Catchment area data Hydraulic model outputs/asset capacities Defined asset classes to which the ALOS targets apply (if there are different targets for some asset classes) | Trunk Sewers Local Collection Sewers Pumping stations Treatment plants Storage facilities
| Storm water management assets are resilient to a minimum storm intensity/duration | Defined ALOS ratings and targets for the storm intensity/duration (by asset class if necessary) Wet weather flow and rainfall data Storm water asset inventory Asset design capacities Catchment area data Hydraulic model outputs/asset capacities Defined asset classes to which the ALOS targets apply (if there are different targets for some asset classes) | Pipes Dry and wet ponds Channels and swales Inground storage, retention and overflow facilities Dams
| Provide sufficient treatment capacity to meet CoA requirement | History of effluent discharge monitoring data Treatment plant process capacities (design or modeled) Defined ALOS ratings and targets | Treatment plants
| Provide minimum system/network/process capacity for continued operations during emergency periods by asset class (e.g. average flows , peak flows, and/or wet weather flows) | Defined ALOS ratings and targets for the demand conditions under which minimum system capacities are to be provided (e.g. average day, maximum day) for each asset class or critical processes Definitions for critical processes and inventory to which the ALOS applies Asset class definitions The related critical asset inventory Hydraulic model outputs Recorded flow data System design information | Trunk Sewers Pumping stations Treatment plants Storage facilities
Notes: 1. | Standardized measures and ALOS ratings as developed through industry practices or per a predefined general rating convention, e.g.: 1 - Very Good, 2 - Good, 3 - Fair, 4 - Poor, 5 - Very Poor

## 14. Roads Info Catalogue
ALOS Category | Asset Levels of Service Inputs | Data & Attributes to Support ALOS Inputs1 | Affected Asset Classes
Condition | Minimum pavement condition or road surface rating by asset class | Standard condition measurements A standard ALOS pavement condition ratings system(e.g. Pavement Condition Index (PCI) for paved surfaces) ALOS condition targets by Asset Class Condition assessments Asset Class definitions | Pavement, gravel surfaces
| Minimum Bridge and Major Culvert condition rating by asset class | A standard ALOS bridge condition ratings system (e.g. Bridge Condition Index (BCI)) Condition assessments ALOS condition targets Asset Class definitions | Bridges Major Culverts
| Minimum condition rating for roadside features by asset class | Standard condition measurements A standard ALOS condition ratings system ALOS condition targets by Asset Class Condition assessments Asset class definitions | Retaining walls, noise attenuation walls, light poles, traffic signals and equipment, sidewalks, multi-use trails, etc.
| Minimum ditches and minor cross culvert condition rating by asset class | Standard condition measurements A standard ALOS condition ratings system ALOS condition targets by Asset Class Condition assessments Asset Class definitions | Ditches & minor cross culverts
| Maximum age for specified roads asset classes and/or types | ALOS rating system and targets for maximum age by Asset Class Installation dates Estimated lifespan Material types (if applicable) Asset Class definitions | Any road asset including roads, bridges, culverts, storm sewer pipes, noise attenuation walls, street lights, traffic signal and equipment installations, retaining walls, sidewalks, multi-use or pedestrian trails, etc.
Performance | Maximum traffic loads/volumes on gravel and/or surface treated roads (Intended to trigger an upgrade from gravel to treated surfaces or from treated surfaces to asphalt surfaces) | Standard performance measures for traffic loads and/or volumes and road capacity ALOS ratings and targets for maximum accepted traffic loads and/or volumes Traffic data | Gravel or surface treated roads
| Adequate sightlines, geometrics, and shoulder and road platform widths | Per MTO design requirements: Vertical and horizontal alignment requirements for given cross sections and speeds Adequate sightlines at intersections and mid block Adequate platform width and shoulder widths for given cross sectional and speeds | Gravel or surface treated roads
| Maximum traffic loads/volumes by pavement asset class (Intended to trigger upgrades in pavement designs/depths) | Standard performance measures for traffic loads and/or volumes and road capacity ALOS ratings and targets for maximum accepted traffic loads and/or volumes by asset class Traffic data | Paved roads
| Bridge and major culvert structures are resilient to a minimum storm intensity/duration | Performance measures for storm intensity/duration Defined ALOS measures and targets for the storm intensity/duration Rainfall and stormwater flow data Bridge/culvert design data Catchment area data Hydraulic model outputs | Bridges and major culverts
| Widen roads, bridge and culvert structures on roads exceeding maximum traffic volume capacities | Standard performance measures traffic volumes/road capacity ALOS ratings and targets for maximum traffic volume capacities by asset class/road types Current and forecasted traffic data | Roads, bridges and culverts
| Construct noise attenuation walls where traffic noise exceeds maximum allowable decibels at rear and side lot property lines | Standard performance measures for noise ALOS ratings and targets for accepted maximum traffic noise at property line Traffic noise data | Noise attenuation walls
| Protective barriers must meet Ministry Regulations | Ministry Regulations Barriers asset inventory | Barriers, guard rails, crash attenuation devices
| Urbanize road cross sections in urban areas | Standardized urban cross section designs approved by Council by Asset Class Asset Class Definitions | Roads, Road side features
Notes: 1. | Standardized measures and ALOS ratings as developed through industry practices or per a predefined general rating convention, e.g.: 1 - Very Good, 2 - Good, 3 - Fair, 4 - Poor, 5 - Very Poor
See the Wastewater ALOS catalogue for storm water pumping stations.

## 15. Buildings Info Cataloge
Category | Asset Levels of Service Inputs | Data & Attributes to Support ALOS Inputs1 | Affected Asset Classes
Condition | Minimum condition rating for building and property assets by asset class | Standard condition measurements ALOS condition ratings and targets for minimum condition rating by Asset Class A standard condition ratings system (e.g. Facilities Condition Index (FCI)) Condition assessments Asset class definitions | Building and property site elements (parking surfaces, sidewalk, fencing, driveways, retaining walls, underground infrastructure, lighting etc.)
| Maximum age for building and property assets by asset class/type | ALOS ratings and targets for maximum age by asset class/type Asset class/types to which the ALOS will apply Installation dates Estimated lifespan Material types (if applicable) Asset class definitions | Building and property site elements (parking surfaces, sidewalk, fencing, driveways, retaining walls, underground infrastructure, lighting etc.)
Performance | Appearance of building and property | Standard performance measures for appearances ALOS performance ratings and targets Criteria for appearance of building and property Assessment data | Building and property site elements (parking surfaces, sidewalk, fencing, driveways, retaining walls, underground infrastructure, lighting etc.)
| Internal building or parking or building utility capacity | Standard performance measures for capacities ALOS performance ratings and targets Design criteria for setting capacity requirements of buildings and property Assessment data/space planning information Existing building capacities | Building internal spaces, property site elements (parking surfaces, sidewalk, fencing, driveways, retaining walls, underground infrastructure, lighting etc.)
| Adaptability of building and property for changing requirements | Standard performance measures for adaptability ALOS performance ratings and targets Criteria for the level of adaptability for the building and property to change or expand to meet changing service requirements. Assessment data | Building and property site elements (parking surfaces, sidewalk, fencing, driveways, retaining walls, underground infrastructure, lighting etc.)
| Building and property amenities for appropriate service delivery | Standard performance measures for service amenities ALOS performance ratings and targets Criteria for appropriate amenities for service deliver. Assessment data | Building and property site elements (parking surfaces, sidewalk, fencing, driveways, retaining walls, underground infrastructure, lighting etc.)
| Adequacy of building and property accessibility features | Standard performance measures for accessibility ALOS performance ratings and targets Criteria for appropriate accessibility features Accessibility for Ontarians with Disabilities Act Assessment data. | Building and property site elements (parking surfaces, sidewalk, fencing, driveways, retaining walls, underground infrastructure, lighting etc.)
Notes: 1. | Standardized measures and ALOS ratings as developed through industry practices or per a predefined general rating convention, e.g.: 1 - Very Good, 2 - Good, 3 - Fair, 4 - Poor, 5 - Very Poor

## 16. Info Management Audit
Workshop and/or Questionnaire Inquiries | CAO/ GM | Dept Head /Dir | Mgr. | SMEs
What information do you currently use for decision-making? | X | X | X
Is there confidence in the information and decisions? | X | X | X
Is there additional information you require? If Yes: Please describe. Please rank the urgency of the additional information you need (e.g. low, medium, high) | X | X | X
What reporting is currently used for infrastructure planning and decision-making? | X | X | X
Is there additional reporting you require? If Yes: Please describe. Please rank the urgency of the additional reporting you need (e.g. low, medium, high) | X | X | X
Do you feel you have all the data you need to provide the information you want for current decision-making needs? If No: What specific data or data improvements do you feel is necessary for decision-making? Please rank the urgency of the additional data requirements (e.g. low, medium, high) | X | X | X
Is the data being collected or has been collected, sufficiently accurate or complete? If Yes: Are there measures for levels of data accuracy and sufficiency? If Yes: Please provide documentation. If No: Are you able to suggest measures that could be used? |  | X | X | X
Are there tolerances established for levels of data inaccuracy? If Yes: What are the tolerances? If No: Can you suggest measures for the criticality of data accuracy by asset type (e.g. high, medium low)? |  | X | X | X
Is there a clear understanding and documentation on who "owns" the data? If Yes: Please provide the documentation If No: Can a draft document of data ownership be prepare by staff for senior leader review? |  | X | X | X
Are there formal responsibilities for collection of the data? If Yes: Please provide the documentation If No: Can draft documents of data collection responsibilities be prepare by staff for senior leader review? |  | X | X | X
Have staff competencies and responsibilities been established with respect to the different roles in the data/information management cycle? Specifically, competencies, responsibilities and accountabilities related data collection and updating processes, uploads into the register, data quality auditing, data formatting, data archiving and deletions If Yes: Please provide the documentation If No: Can draft documents of data management competency and responsibility requirements be prepare by staff for senior leader review? |  | X | X | X
Are there formal responsibilities for management of the data? If Yes: Please provide the documentation If No: Can draft documents of data management responsibilities be prepare by staff for senior leader review? |  | X | X | X
Have processes been established and documented for the collection and management of the data? If Yes; Please provide the documentation If No; Can draft documents of data management processes be prepared by staff for senior leaders review? |  | X | X | X
Is the data being kept up to date? If Yes: Please provide documentation/schedules for data updates If No: Can draft documents for regular data updates be prepared by staff for senior leader review? |  | X | X | X
Is a formal priority system established for the collection of missing/incomplete data? If Yes: Please provide the documentation. |  | X | X | X
Has a rationale been established for the data types being collected? i.e. Does the data serve a specific purpose for information and decision-making needs? If Yes: Please provide the documentation. |  |  | X | X
Can a complete listing of the data being stored and collected be provided? |  |  | X | X
Do staff understand their roles in the management of data and information? |  |  | X | X
How quickly is new data loaded into the asset register(s)? |  |  | X | X
Is there a consistent data standard across the organization? E.g. asset definitions/nomenclature, identification number standards, unique identification/numbering of assets etc. If Yes: Please provide documentation. |  |  | X | X
Has there been an asset hierarchy established to consistently organize the assets? |  |  | X | X
Is the asset register located in one location or multiple locations? Please describe the locations. |  |  | X | X
Notes: Where staff do not have the resources to prepare required documentation, the project management team will need to consider the importance and urgency and discuss with the asset management steering committee or program sponsor the most appropriate next steps.

## 17 Data Capture Plan Template
Program | Service Function | Asset Class | Relevance to Asset Management Plans | Specific Data Improvements/Requirements | Measures on Data Requirements & Information Reliability | Timelines to Complete | Responsible | Comments/Status
Legend
| Condition related data | Condition related data
| Performance related data | Performance related data
| Mix of condition and performance related data | Mix of condition and performance related data
Note on A1: Per the Service to Asset Hierarchy
Note on B1: Per the Service to Asset Hierarchy
Note on C1: Per the Service to Asset Hierarchy
Note on D1: How the required data or data issues impact or are relevant to the asset management plan.
Note on E1: Specific description on what is required to rectify the data gaps or data issues
Note on F1: 1. How much of the data needs to be collected (as opposed to what is already available) 2.How reliable is the available data or how much confdence is there inthe data Note if the available data or assumptions are mostly unreliable, then 100% of the data should be collected starting with the missing data.
Note on G1: Planned timelines to complete the data collection or correction initiative. Can be a series of timelines,
Note on H1: The stakeholders responsible for the data collection or corrections on behalf of the accountable business unit accountable for the assets.
Note on I1: General additional information or current status of data collection or corrections initiatives

## 18 Water Data Capture Plan
Program | Service Function | Asset Class | Data Gaps/Issues | Relevance to Asset Management Plans | Specific Data Improvements/Requirements | Measures on Data Requirements & Information Reliability | Timelines to Complete | Responsible | Comments/Status
Water | Distribution | Watermains - Transmission Mains - Major Feedermains | Condition Information - Very little information exists on the condition of major feedermains and transmission mains and therefore the state of the infrastructure and the risks for these asset classes are not fully known for much of the system. | - to assess full capital needs to maintain state of good repair - to better quantify and improve confidence in the level of condition risk to the asset class - to provide additional data to develop more accurate/reliable life cycle curves and strategies - to obtain a listing of deficient pipe sections that require replacement or major repairs for more precise asset management and capital planning - to proactively fulfill a high asset level service target of "no breaks" | - electromagnetic condition assessments and inspections - a proactive plan to carry out the works based on age and criticality of the mains and the ability to take them out of service for a period of time | 20% reliability on the condition of the system 90% of the information is required on the Transmission mains and feedermains from condition assessments | 20% of the system each year starting with most critical, oldest and most feasible mains 2019 (a five year plan starting in 2015) | Program Planning | - ad hoc condition assessments as opportunities arise.
|  |  | Lifecycle Information - Currently CAM is using a single estimated life span to predict long term infrastructure investments for long sections of feedermains and transmission mains (node to node). Although the assumed lifespan currently being used is a reasonable high level estimate that is in line with industry benchmarks and satisfies CAM's high-level modelling needs, there is little historical evidence and inadequate condition assessment information to validate or revise the current lifecycle strategy. Furthermore, a more refined and practical lifecycle strategy and reinvestment plan that is targeted to rehabilitation of deficient pipes or pipe sections rather than longer node to node sections is required. | - to develop more reliable life span assumptions - to refine budget estimates in order better allocate financial resources to other program priorities - to enhance lifecycle strategies that reflect a more targeted approach that considers new technologies and approaches for repairing/rehabilitating major feedermains - to improve confidence in long term SoGR asset management plans and minimize SoGR reinvestment estimates | - updated lifespans - update lifecycle strategies to include additional rehabilitation options - potential revised asset levels of service for rating/forecasting asset condition | 20% reliability on the condition of the system 90% of the information is required on the Transmission mains and feedermains from condition assessments | 20% of the system each year starting with most critical, oldest and most feasible mains Q4 2016 to have enough information to revise lifecycle assumptions (rehab strategies, costs and lifespans) 2019 to have all data to complete a detailed asset management rehabilitation plan for major feedermains and transition mains(a five year plan starting in 2015) | Program Planning | - Update lifespans upon collection of more sonar inspection data - CAM recently reviewed the available condition assessment data and found there was not enough information to amend current lifecycle strategies
|  |  | Detailed Risk Assessments and Planning Adequate System Capacity - Major Feedermains and transmission mains represent some of Peel's most critical infrastructure affecting community health and safety and basic water service delivery. Surplus conveyance capacity achieved through the construction of additional mains is one method to buffer the loss of capacity due to failures in the major feedermain systems. Quantification of the risk, works and costs are required to assess the infrastructure needs and to develop a prioritized long term asset management plan. | - to quantify the overall level of risks in the system - to establish Peel's risk tolerances for service interruptions - to develop an approved long range master plan for capital forecasting and long term asset management plans | - risk assessments by pipe sections/segments - a prioritized master plan outlining preferred works and costs - Council approval for the construction program and capital plan | To form a component of the Water Asset Management Plan which requires Council 10% of the risk assessments and planning for the transmission mains is remaining 0% of the risk assessments and planning for the feedermains is complete | Q4 2014 for the transmission system asset management plan (including Council's approval for the plan and its costs) Q4 2015 for the major feedermain asset management plan (including Council's approval for the plan and its costs) | Program Planning | - Risk Assessment of the Lake-Based Water System - condition assessments of the transmission mains - Updating asset information on the transmission mains
|  |  | System Pressure/Flow Improvement Plans - Several areas of Peel's water system have been identified as having inadequate flow and pressure to meet asset levels of service. Plans to correct these areas have been ad hoc and opportunistic. | - to quantify the overall level of risk to service levels in the system - to quantify the works and costs to address the areas of deficient pressure and develop a business case to Council to instigate a program to correct low pressure/low flow areas - to develop an asset management plan based on the approvals by Council | - an asset management plan outlining preferred works and costs - Council approval for the construction program and capital plan | 10% or less information gap on deficient areas 90% reliability on the modelling results (a newly calibrated model) | Q4 2014 for Council approval | Program Planning | - Some areas for flow/pressure improvements have been identified - capital funds have been approved and are planned to correct some of the low pressure/flow areas
|  |  | Linear Asset Management Plan - A Master Plan that pulls all of the Council approved system improvements together into one document for long range capital planning and support through the annual capital planning and approval process. The Master Plan document should take the form of a linear asset management plan. | - input to the Program asset management and capital planning - supports the annual capital budget and forecast - input into CAM modelling and assumptions so there is consistency between CAM and Program capital recommendations - validates/revises asset levels of service and risks | - a prioritized master plan outlining preferred works and costs - Council approval for the construction program and capital plan | Reliability - N/A. As the Master Plan is developed, the inputs, conclusions and recommendations should be tested throughout the documentation process so that it fully reliable for that point in time. Requires 40% more information to complete the plan (mostly condition and risk assessments). | Substantially complete by Q4 2015 when much of the data is available and interim assumptions can be made. Complete by Q4 2019 to be fully updated with all of the asset needs and plans | Program Planning | This is intended to address a component of the overall long range water asset management plan.
|  | Storage - Reservoirs - Elevated Tanks | Condition Information - There is still some information required on the condition of some storage facilities in order to fully assess the risks and provide complete and reliable long term asset management plans | - to accurately assess the current state of the infrastructure - to assess and forecast full capital needs to maintain state of good repair - to improve confidence in the condition and performance risks to the asset class - to improve lifespan assumptions and life cycle rehabilitation strategies - to improve confidence in long term SoGR asset management plans | - condition assessments for some storage facilities | The information on the condition of the reservoirs and tanks is about 70% reliable. Still requires 20% of the condition information to be collected. Less than 10% of the performance information is required. | Q3 2015 | Capital Works, Transmission and Distribution | - condition assessments are planned for the remaining facilities - CAM will continue to refine lifespan assumptions with Capital Works, Transmission and Distribution.
|  |  | Lifecycle Information - Predictive and proactive lifecycle strategies have been developed and tested for asset management planning. Additional condition data and some further review of the strategies is required to increase trust and confidence in the long term SoGR asset management plans. | - to develop more reliable life span assumptions - to enhance lifecycle strategies that reflect a more targeted approach that considers new technologies and approaches for repairing/rehabilitating major reservoirs and elevated tanks - to improve confidence in long term SoGR asset management plans | - review the general scheduling, selection and estimated lifespan of treatment methods - review/validate the "reset" values after each treatment - review/validate the costs for each treatment method - Lifecycle strategy for Elevated Tanks should be changed from Estimated Service Life to a condition-based rehabilitation strategy similar to in-ground reservoirs | Reliability of the lifecycle strategies for in-ground reservoirs is about 70% and about 30% for Elevated Tanks. Information to update lifecycle strategies for in-ground reservoirs requires about 20% more data and about 70% more data for Elevated Tanks | Q3 2015 | Capital Works, Transmission and Distribution | - CAM will continue to refine lifespan assumptions with Capital Works, Transmission and Distribution.
|  |  | Performance and Design Standard Improvements - Improvements have been identified; however, there is no formalized documentation or plan that assesses and details the preferred options/works to reduce performance risks/meet design requirements. | - evaluate the cost and cost effectiveness of enhancing the performance of the reservoir facilities - to develop proactive plans to introduce performance improvements in conjunction with major reservoir reconstructions and/or as stand alone works where the works are critical - to provide more complete long range asset management planning | - long term capital needs and costs to address feasible performance improvements. | Information on the reservoirs is about 80% reliable. Enough information is available to begin planning and evaluating the most appropriate solutions. About 20% of the condition information is required, | Q4 2015 | Capital Works, Transmission and Distribution | - ad hoc performance improvements as reservoirs are expanded for growth or undergo rehabilitation. - more clarity on the scope of works and costs are required to improve investment projections and cost benefit analysis.
|  |  | Reservoir Asset Management Plan - A Master Plan that pulls all of the condition information and Council approved system improvements together into one document for long range capital planning and support through the annual capital planning and approval process. | - input to the Program asset management and capital planning - supports the annual capital budget and forecast - input into CAM modelling and assumptions so there is consistency between CAM and Program capital recommendations - validates/revises asset levels of service and risks | - a prioritized master plan outlining preferred works and costs - Council approval for the construction program and capital plan | Reliability - N/A - Master Plan has not begun. As the Master Plan is developed, the inputs, conclusions and recommendations should be tested throughout the documentation process so that it fully reliable for that point in time. Requires 40% more information to complete the plan (remaining condition assessments and a completed performance improvement plan). | Substantially complete by Q4 2015 when much of the data is available and interim assumptions can be made. Complete by Q4 2019 to be fully updated with all of the asset needs and plans | Program Planning | This is intended to address a component of the overall long range water asset management plan.
|  | Pumping Stations - Pumps & Equipment | Asset Inventory and Condition Information - A significant portion of the information is out of date or incomplete or in error. CAM and PW staff lack confidence in the asset management plans and levels of risk based on the data in the current inventory. | - to improve confidence in long term SoGR asset management plans | Update: - asset inventory - installation dates - replacement values - condition assessments - Corrected lifespan estimates (done by OCWA based on typical industry lifespans) | Reliability of data is approximately 70% Approximately 40% of the data is required. | Q4 2015 | Capital Works, Transmission and Distribution | Develop and implement a plan with Ontario Clean Water Agency (OCWA) - identify data issues - develop data structure - allocate resources to collect and correct asset data - update lifecycle strategies - CAM to meet with Transmission and Capital Works staff to discuss current assumptions
|  |  | Lifecycle Information - Currently CAM is using estimated life spans to predict long term equipment/vertical asset requirements. Some estimated lifespans in the OCWA data require correction either to industry benchmarks or, where information is available, typical lifespans in Peel's operating environment. | - to improve confidence in life cycle assumptions and the long term SoGR asset management plans | Review typical life spans and lifecycle strategies - review the general scheduling, selection and estimated lifespan of treatment methods - review/validate the "reset" values after each treatment - review/validate the costs for each treatment method | Reliability of the lifecycle estimates is approximately 70% Approximately 40% of the data on current age and condition is required. | Q4 2015 | Capital Works, Transmission and Distribution | - CAM will continue to refine lifespan assumptions with Capital Works, Transmission and Distribution.
|  |  | Performance and Design Standard Improvements - Some improvements have been identified (e.g. Standby Power); however, a formalized plan is need that assesses and details the preferred options/works to reduce performance risks/meet current design requirements where feasible. | - to quantify the performance risks before and after the preferred mitigation options/works - to develop long term asset management plan - as input to the 10-year capital plan | - documentation of long term capital needs and costs to address feasible performance improvements. | Reliability of the information required to complete the performance improvements is approximately 80% Required data to complete the approved improvement is 90% | Q4 2015 | Capital Works, Transmission and Distribution | - ad hoc performance improvements as reservoirs are expanded for growth or undergo rehabilitation.
|  |  | Pumping Station Asset Management Plan - A Master Plan that pulls all of the condition information and Council approved system improvements together into one document for long range capital planning and support through the annual capital planning and approval process. | - input to the Program asset management and capital planning - supports the annual capital budget and forecast - input into CAM modelling and assumptions so there is consistency between CAM and Program capital recommendations - validates/revises asset levels of service and risks | - a prioritized master plan outlining preferred works and costs - Council approval for the construction program and capital plan | Approximately 10% of the data on current age and condition is required. | Q4 2015 | Capital Works, Transmission and Distribution | This is intended to address a component of the overall long range water asset management plan.
| Lake Based & Groundwater Treatment | - Intake - Pre-treatment - Disinfection - Filtration - Chemical Systems - High lift pumps - Treated Water Storage - Plant wide support systems | Asset Inventory and Condition Information - A significant portion of the inventory relies on an asset validation report which is out of date. Additionally, the logical grouping of components into capital assets for the purpose of capital planning and reporting needs to be improved. Condition assessments, condition information and the inventory of the assets themselves need to be updated and/or verified. CAM and PW staff lack confidence in the asset management plans and levels of risk based on the data in the current inventory. | - to identify what Peel owns and what it is worth - to accurately assess the current state of the infrastructure - to assess and forecast full capital needs to maintain state of good repair - to improve confidence in the condition and performance risks to the asset class - to develop more reliable lifespan assumptions - to improve confidence in long term Water Treatment asset management plans | An updated and complete asset inventory including: - installation dates - replacement values - condition assessments - typical estimated life spans and estimated remaining life of assets | Approximately 10% of the inventory is not recorded in the data base. Approximately 30% of the assets have not been accurately assessed for condition, replacement value, estimated lifespans and installation dates. Reliability and confidence in the data is approximately 70% | Q4 2015 | Capital Works, Water Treatment | Develop and implement a plan with the Ontario Clean Water Agency (OCWA) - identify data issues - develop data structure - allocate resources to collect and correct asset data - update lifecycle strategies - CAM to meet with PW and OCWA staff to discuss current assumptions
|  |  | Lifecycle Information - Currently CAM is using estimated life spans to predict long term equipment/vertical asset requirements. Some estimated lifespans in the OCWA data require correction either to industry benchmarks or, where information is available, typical lifespans in Peel's operating environment. | - to improve confidence in life cycle assumptions and the long term SoGR asset management plans | Review typical life spans and lifecycle strategies - review the general scheduling, selection and estimated lifespan of treatment methods - review/validate the "reset" values after each treatment - review/validate the costs for each treatment method | Approximately 10% of the assets have not been accurately assessed for estimated lifespans and installation dates. Reliability and confidence in the data is approximately 70% | Q4 2015 | Capital Works, Water Treatment | CAM and PW will review current lifecycle strategies and available data to determine if enough information exists to make changes to assumptions
|  |  | Water Treatment Asset Management Plan - A Master Plan that pulls all of the condition information and Council approved system improvements together into one document for long range capital planning and support through the annual capital planning and approval process. | - input to the Program asset management and capital planning - supports the annual capital budget and forecast - input into CAM modelling and assumptions so there is consistency between CAM and Program capital recommendations - validates/revises asset levels of service and risks | - a prioritized master plan outlining preferred works and costs - Council approval for the construction program and capital plan | Approximately 30% of the data on current age and condition is required. Reliability and confidence in the data for use in the Asset management plan is approximately 70% | Substantially complete by Q4 2015 | Capital Works, Water Treatment | This is intended to address a component of the overall long range water asset management plan.
| Distribution and Treatment | Facilities - Plants - Pumping Stations | Building Condition Assessments - BCA's for the Wastewater building and property assets require updating. A process between PW, OCWA and RPAM needs to be established for regular updates and review of the BCA's. Furthermore, the process should result in the recommended works being programmed in the capital plan. | - to improve confidence in the long term asset management plans - to validate capital requirements for the annual capital budget and forecast | - Updated BCA's reviewed and validated by PW, OCWA and RPAM - A regular process to inspect facilities and update capital recommendations | 100% of the building and property information is out-of-date (2009 data) Reliability of the 2009 data is 40% | Q4 2015 | Program Planning Capital Works, Water Treatment Capital Works, Transmission and Distribution | PW, RPAM and OCWA to develop an implementation plan to decide who does what and when.
|  |  |  | - to assess performance needs and costs for inclusion in the asset management plan | - Obtain building performance related information where necessary. | 90% of the performance data is required. | Q4 2015 | Program Planning Capital Works, Water Treatment Capital Works, Transmission and Distribution | Develop and implement a strategy with OCWA and Peel stakeholders.
Legend
| Condition related data | Condition related data
| Performance related data | Performance related data
| Mix of condition and performance related data | Mix of condition and performance related data
Note on A1: Per the Service to Asset Hierarchy